Standby Steps(SB Steps)

Step	Description	Details/Actions	PTR	AS	PTD	V1	V2	V3	V4	V5	V6	S1	S2	S3	S4	S5	S6	P1	X	Y	Z	A
SB1	Vial Check	If S1 Off / Vial Not Found / OK to continue SB2 / Else Vial Will Be Skipped / OK to continue SB2				OFF	OFF	OFF	OFF	OFF	OFF	On/Off	ON	OFF	OFF	OFF	OFF	<10>10	?	Up	Up	OK
SB2	Calibrate / X Vial / Position?	Calibrate Vial Pos? / Yes Goto CV1 / No Goto SB3				OFF	OFF	OFF	OFF	OFF	OFF	On/Off	ON	OFF	OFF	OFF	OFF	<10>10	OK	Up	Up	OK
SB3	Rinse Pressure / Check	If P1 <10 / Rinse Pressure Low / Fixed Rinse OK? / Loop Back to SB3 / Else Goto RD1				OFF	OFF	OFF	OFF	OFF	OFF	On/Off	ON	OFF	OFF	OFF	OFF	<10>10	OK	Up	Up	OK